Seminar 8

- Please propose 2-3 realization approaches according to the required functions assigned to each group. You may consider the practical component parameters and possible control schemes;

It is required to:

- Discuss the differences between the proposals;

- Select the optimal one among them and state your reason;

- Provide simulation and analysis on operating principle.

Group 1: A high-voltage DC (HVDC) transmission system connects two 10kV 3-phase 3-line AC power systems. It is controlled as bidirectional power flow. The maximum transmission power is 2MW. Hint: there should be one converter controlling the DC side voltage by close-loop control, or there should be a DC voltage source added in the DC line.

Group 2: A high-voltage DC (HVDC) transmission system connects two 6kV 3-phase 3-line AC power systems. It is controlled as bidirectional power flow. The maximum transmission power is 1MW. Hint: there should be one converter controlling the DC side voltage by close-loop control, or there should be a DC voltage source added in the DC line.

Group 3: A high-voltage DC (HVDC) transmission system connects two 35kV 3-phase 3-line AC power systems. It is controlled as bidirectional power flow. The maximum transmission power is 5MW. Hint: there should be one converter controlling the DC side voltage by close-loop control, or there should be a DC voltage source added in the DC line.

Group 4: You are assigned to design an AC-DC Switching Mode Power Supply. The input voltage should be set as single-phase 220Vac, and the output voltage and current should be set as ①+15Vdc/5A, ②-15Vdc/1A and ③+5Vdc/3A. You should also pay attention that ①the three output channels don’t share the ground, and ②the peak-to-peak value of the output voltage ripple should not be larger than 5% of nominal output voltage.

Group 5: You are assigned to design an AC-DC Switching Mode Power Supply. The input voltage should be set as three-phase, 220Vac for each phase, and the output voltage and current should be set as 220Vdc/30A. You should also pay attention that the peak-to-peak value of the output voltage ripple should not be larger than 5% of nominal output voltage.

Group 6: You are assigned to design a DC-DC Switching Mode Power Supply. The input voltage should be set as 12Vdc for each phase, and the output voltage and current should be set as 220Vdc/30A. You should also pay attention that the peak-to-peak value of the output voltage ripple should not be larger than 5% of nominal output voltage.

Group 7: Electric Motor Drive System, AC-DC-AC VFD (Variable Frequency Drive). Three-phase AC voltage source (phase voltage 220V) as input, control Squirrel-Cage Asynchronous Machine rotating speed to realize the operation in 4 quadrants.

Machine operates in motor mode with positive and negative speed (i.e. clockwise and counter-clockwise rotation) of 1200r/min

Machine operates in generator mode with positive and negative speed of 1400r/min

(Hint: AC/DC converter should control dc-side voltage with closed-loop, or simply add dc voltage source over dc bus)

- By varying the frequency and amplitude three-phase VFD output voltage, adjust the machine rotating speed.

- By changing the machine load torque Tm, enable the machine to work under motor mode and generator mode.

- By changing the phase sequence of VFD output voltage, enable the machine to rotate with positive and negative speed.

Machine Parameters:

Rotor type: Squirrel-cage;

Mechanical input: Torque Tm;

Reference Frame: Stationary;

Nominal power, voltage (line-line), and frequency [ Pn(VA),Vn(Vrms),fn(Hz) ]: [ 3*746, 220, 60 ]；

Stator resistance and inductance[ Rs(ohm) Lls(H) ]: [ 0.435  2*2.0e-3 ]；

Rotor resistance and inductance [ Rr'(ohm) Llr'(H) ]: [ 0.816  2.0e-3 ]；

Mutual inductance Lm (H): 69.31e-3；

Inertia, friction factor, pole pairs [ J(kg.m^2) F(N.m.s) p() ]: [ 0.089  0 2]；

Initial conditions [ 1,0   0,0,0   0,0,0 ]

Group 8: Electric Motor Drive System, AC-DC-AC VFD (Variable Frequency Drive). Three-phase AC voltage source (phase voltage 220V) as input, control Squirrel-Cage Asynchronous Motor rotating speed to realize the operation of in 4 quadrants.

Machine operates in motor mode with positive and negative speed (i.e. clockwise and counter-clockwise rotation) of 900r/min

Machine operates in generator mode with positive and negative speed of 1500r/min

(Hint: AC/DC converter should control dc-side voltage with closed-loop, or simply add dc voltage source over dc bus)

- By varying the frequency and amplitude three-phase VFD output voltage, adjust the machine rotating speed.

- By changing the machine load torque Tm, enable the machine to work under motor mode and generator mode.

- By changing the phase sequence of VFD output voltage, enable the machine to rotate with positive and negative speed.

Machine Parameters:

Rotor type: Squirrel-cage;

Mechanical input: Torque Tm;

Reference Frame: Stationary;

Nominal power, voltage (line-line), and frequency [ Pn(VA),Vn(Vrms),fn(Hz) ]: [ 3*746, 220, 60 ]；

Stator resistance and inductance[ Rs(ohm) Lls(H) ]: [ 0.835  1*2.0e-3 ]；

Rotor resistance and inductance [ Rr'(ohm) Llr'(H) ]: [ 1.016  2.0e-3 ]；

Mutual inductance Lm (H): 90.31e-3；

Inertia, friction factor, pole pairs [ J(kg.m^2) F(N.m.s) p() ]: [ 0.159  0 2]；

Initial conditions [ 1,0   0,0,0   0,0,0 ]

Group 9: Electric Motor Drive System, AC-DC-AC VFD (Variable Frequency Drive). Three-phase AC voltage source (phase voltage 110V) as input, control Squirrel-Cage Asynchronous Motor rotating speed to realize the operation of in 4 quadrants.

Machine operates in motor mode with positive and negative speed (i.e. clockwise and counter-clockwise rotation) of 900r/min

Machine operates in generator mode with positive and negative speed of 1200r/min

(Hint: AC/DC converter should control dc-side voltage with closed-loop, or simply add dc voltage source over dc bus)

- By varying the frequency and amplitude three-phase VFD output voltage, adjust the machine rotating speed.

- By changing the machine load torque Tm, enable the machine to work under motor mode and generator mode.

- By changing the phase sequence of VFD output voltage, enable the machine to rotate with positive and negative speed.

Machine Parameters:

Rotor type: Squirrel-cage;

Mechanical input: Torque Tm;

Reference Frame: Stationary;

Nominal power, voltage (line-line), and frequency [ Pn(VA),Vn(Vrms),fn(Hz) ]: [ 3*800, 110, 50 ]；

Stator resistance and inductance[ Rs(ohm) Lls(H) ]: [ 0.635  1*2.0e-3 ]；

Rotor resistance and inductance [ Rr'(ohm) Llr'(H) ]: [ 0.816  1.5e-3 ]；

Mutual inductance Lm (H): 76.31e-3；

Inertia, friction factor, pole pairs [ J(kg.m^2) F(N.m.s) p() ]: [ 0.25  0 2]；

Initial conditions [ 1,0   0,0,0   0,0,0 ]

Group 10: Electric Motor Drive System, AC-DC-AC VFD (Variable Frequency Drive). Three-phase AC voltage source (phase voltage 110V) as input, control Squirrel-Cage Asynchronous Motor rotating speed to realize the operation of in 4 quadrants.

Machine operates in motor mode with positive and negative speed (i.e. clockwise and counter-clockwise rotation) of 800r/min

Machine operates in generator mode with positive and negative speed of 1000r/min

(Hint: AC/DC converter should control dc-side voltage with closed-loop, or simply add dc voltage source over dc bus)

- By varying the frequency and amplitude three-phase VFD output voltage, adjust the machine rotating speed.

- By changing the machine load torque Tm, enable the machine to work under motor mode and generator mode.

- By changing the phase sequence of VFD output voltage, enable the machine to rotate with positive and negative speed.

Machine Parameters:

Rotor type: Squirrel-cage;

Mechanical input: Torque Tm;

Reference Frame: Stationary;

Nominal power, voltage (line-line), and frequency [ Pn(VA),Vn(Vrms),fn(Hz) ]: [ 3*800, 110, 50 ]；

Stator resistance and inductance[ Rs(ohm) Lls(H) ]: [ 0.235  1*2.0e-3 ]；

Rotor resistance and inductance [ Rr'(ohm) Llr'(H) ]: [ 0.316  1.0e-3 ]；

Mutual inductance Lm (H): 41.31e-3；

Inertia, friction factor, pole pairs [ J(kg.m^2) F(N.m.s) p() ]: [ 0.1  0 2]；

Initial conditions [ 1,0   0,0,0   0,0,0 ]